## Assets
Asset Type | Asset ID | Name | Next Calibration Date | Frequency | Manufacturer | Model | Serial | Physical Location | Sub-Location | Functional Location | Department | Asset Status | Classification | Primary Procedure Code | Test Specification Temporary IDs | Remarks
Instrument | PIT-1001 | Boiler Pressure Transmitter | 2027-01-25 | Annually | Rosemount | 3051 | RM1001 | Boiler Room | Zone A | Steam | Operations | Active | Critical;High Voltage | PROC-PRES | TS-PRES-01 | Pressure monitoring
Instrument | TIT-1002 | Process Temperature Sensor | 2027-12-02 | Semi-Annually | Fluke | 5628 | FL1002 | Line 1 | Mixer | Production | Manufacturing | Active | Standard | PROC-TEMP | TS-TEMP-01 | Batch temperature
Instrument | FIT-1003 | Flow Meter | 2027-11-10 | Quarterly | Endress+Hauser | Promag | EH1003 | Line 2 | Skid | Utilities | Engineering | Active | Critical | PROC-FLOW | TS-FLOW-01 | Water usage
Test Standard | STD-9001 | Pressure Calibrator | 2027-06-01 | Annually | Fluke | 729 | STD9001 | Metrology Lab |  | QA | Quality | Active | Reference |  | TS-SW-01 | Calibration standard
Loop | LOOP-2001 | Boiler Control Loop | 2027-03-01 | Annually |  |  |  | Boiler Room |  | Controls | Operations | Active | System;Class A |  |  | Loop import example
Equipment | EQP-0189 | Equipment 0189 Hardware | 2027-09-03 | Quarterly | Endress+Hauser | M2968 | SE193847 | Filter Area | FA3 |  |  | Active | Non-Toxic | CAL-PROC-02 |  | Equipment example

## Test Specifications
Temporary Mapping ID | Title | Test Specification Type | Tolerance Type | Tolerance Value | Range Low | Range High | Range Dec Places | Unit | Output Low | Output High | Output Dec Places | Output Unit | Correlation | Strategy | Calibrator Template | Set Point 1 | Set Point 1 Direction | Set Point 1 Trip State | Deadband Min | Deadband Max | Set Point 2 | Set Point 2 Direction | Set Point 2 Trip State | Trip Detection Mode | Tasks Fail if Skipped | Tasks Fail if Failed
TS-PRES-01 | Pressure Accuracy | Test Point Accuracy | Percent of Reading | 1 | 0 | 100 | 1 | °C | 4 | 20 | 2 | psi | Linear
TS-TEMP-01 | Temperature Accuracy | Test Point Accuracy | Plus/Minus | 2 | 0 | 300 | 3 | °C | [5 empty] | 3 Up
TS-FLOW-01 | Flow Verification | Manual Pass Fail |  |  | 0 | 500 | 0 | GPM
TS-SW-01 | Pressure Switch | Switch Test |  | 1 | 0 | 100 | 1 | psi | [7 empty] | 50 | High/Ascending | Short | 2 | 5 | 45 | Low/Descending | Short | AC Voltage | Yes | Yes

## Test Specification Nominals
Temporary Mapping ID | Position | Nominal Input
TS-PRES-01 | 1 | 0
TS-PRES-01 | 2 | 150
TS-PRES-01 | 3 | 300
TS-PRES-01 | 4 | 0
TS-PRES-01 | 5 | 100

## Test Specification Task Steps
Temporary Mapping ID | Type | Step Number | Step Text | Required Step | Capture Reading | Unit
TS-SW-01 | Before | 1 | Verify installation condition | Yes | No
TS-SW-01 | During | 2 | Capture displayed flow | Yes | Yes | GPM
TS-SW-01 | During | 3 | Compare to reference | Yes | No
TS-SW-01 | After | 4 | Document results | Yes | No

## Loop Components
Loop ID | Component Instrument ID | Order
LOOP-2001 | PIT-1001 | 1
LOOP-2001 | TIT-1002 | 2
LOOP-2001 | FIT-1003 | 3
LOOP-2001 | STD-9001 | 4

## Asset Contacts
Asset ID | Contact Email | Contact Type
PIT-1001 | mackenzie.buchan@tmasystems.com | Owner
TIT-1002 | mackenzie.buchan@tmasystems.com | General
FIT-1003 | mackenzie.buchan@tmasystems.com | Responsible
LOOP-2001 | mackenzie.buchan@tmasystems.com | Owner
STD-9001 | mackenzie.buchan@tmasystems.com | General

## Asset Resources
Asset ID | Resource Type | Reference Type | Resource Value
PIT-1001 | URL | Procedure Content | https://example.com/proc-pressure
TIT-1002 | File Path | Reference Material | C:/Docs/temp.pdf
FIT-1003 | URL | Related Information | https://example.com/flow
LOOP-2001 | URL | Reference Material | https://example.com/loop
STD-9001 | URL | Related Information | https://example.com/cert

## Calibration Results
Import Row ID | Asset ID | Result Date | Result Time (Optional) | Temperature | Temperature Unit | Humidity | Humidity Unit | As Found Result | Automatic As Found | As Left Result | Automatic As Left | Actions | Remarks | Primary Tech Email | Primary Tech Labor Hours
1 | PIT-1001 | 2025-05-04 | 7:35 | 70 | °F | 20 | %RH | Fail | Yes | Fail | Yes |  | Calibration failed. | mackenzie.buchan@tmasystems.com | 1
2 | TIT-1002 | 2024-02-01 | 8:35 | 72 | °F | 35 | %RH | Fail | Yes | Pass | Yes |  |  | mackenzie.buchan@tmasystems.com | 1.5
3 | FIT-1003 | 2025-03-10 | 9:35 | 60 | °F | 20 | %RH | Pass | Yes | Fail | Yes |  | Calibration failed. | mackenzie.buchan@tmasystems.com | 2
4 | STD-9001 | 2025-03-10 | 10:35 |  |  |  |  | Fail | Yes | Fail | Yes |  | Calibration failed. | mackenzie.buchan@tmasystems.com | 2
5 | PIT-1001 | 2024-06-02 | 11:35 |  |  |  |  | Fail | No | Fail | No |  | Calibration failed. | mackenzie.buchan@tmasystems.com | 5

## Test Activities
Result Row ID | Activity Sequence | Stage | Test Spec Title | Test Specification Type | Tolerance Type | Tolerance Value | Range Low | Range High | Range Dec Places | Unit | Result | Output Low | Output High | Output Dec Places | Output Unit | Strategy | Calibrator Template | Correlation | Set Point 1 | Set Point 1 Direction | Set Point 1 Trip State | Deadband Min | Deadband Max | Set Point 2 | Set Point 2 Direction | Set Point 2 Trip State | Trip Detection Mode
1 | 1 | As Found | Pressure Accuracy | Test Point Accuracy | Percent of Reading | 1 | 0 | 300 | 1 | psi | Pass |  |  |  |  | 3 Up
2 | 1 | As Found | Temperature Accuracy | Test Point Accuracy | Plus/Minus | 2 | 0 | 200 | 1 | °C | Pass |  |  |  |  | 5 Up
3 | 1 | As Left | Flow Verification | Manual Pass Fail | [6 empty] | Fail
3 | 1 | As Found | Flow Verification | Manual Pass Fail | [6 empty] | Fail
4 | 1 | As Found | Pressure Switch | Switch Test | Plus/Minus | 1 | 0 | 100 | 1 | psi | Pass | [7 empty] | 50 | High/Ascending | High | 2 | 5 |  |  |  | AC Voltage
4 | 1 | As Left | Pressure Switch | Switch Test | Plus/Minus | 1 | 0 | 100 | 1 | psi | Pass | [7 empty] | 50 | High/Ascending | High | 2 | 5 |  |  |  | AC Voltage
4 | 1 | As Found | Pressure Switch | Switch Test | Plus/Minus | 1 | 0 | 100 | 1 | psi | Pass | [10 empty] | 2 | 5 | 100 | Low/Descending | Low | AC Voltage
4 | 1 | As Left | Pressure Switch | Switch Test | Plus/Minus | 1 | 0 | 100 | 1 | psi | Pass | [10 empty] | 2 | 5 | 100 | Low/Descending | Low | AC Voltage
5 | 1 | As Left | Pressure Accuracy | Test Point Accuracy | Percent of Reading | 1 | 0 | 300 | 1 | psi | Pass |  |  |  |  | 3 Up

## Test Point Accuracy Points
Result Row ID | Activity Sequence | Stage | Point Sequence | Nominal | Actual | Reading | Point Remark
1 | 1 | As Found | 1 | 0 | 0 | 0
1 | 1 | As Left | 1 | 0 | 5 | 5.2
1 | 1 | As Found | 2 | 100 | 100 | 101.2
1 | 1 | As Left | 2 | 100 | 120 | 120
1 | 1 | As Found | 3 | 300 | 300 | 305
1 | 1 | As Left | 3 | 300 | 301 | 309
2 | 1 | As Found | 1 | 0 | 0 | 0
2 | 1 | As Left | 1 | 0 | 5 | 5.2
2 | 1 | As Found | 2 | 50 | 55 | 55
2 | 1 | As Left | 2 | 50 | 55 | 55 | Actual deviation
2 | 1 | As Found | 3 | 100 | 101 | 101 | Actual deviation
2 | 1 | As Left | 3 | 100 | 101 | 101
2 | 1 | As Found | 4 | 150 | 150 | 150
2 | 1 | As Left | 4 | 150 | 150 | 150
2 | 1 | As Found | 5 | 200 | 205 | 205
2 | 1 | As Left | 5 | 200 | 205 | 205
5 | 1 | As Found | 1 | 0 | 0 | 0
5 | 1 | As Left | 1 | 0 | 5 | 5.2
5 | 1 | As Found | 2 | 100 | 100 | 150
5 | 1 | As Left | 2 | 100 | 120 | 200
5 | 1 | As Found | 3 | 300 | 280 | 310
5 | 1 | As Left | 3 | 300 | 299 | 350

## Switch Points
Result Row ID | Activity Sequence | Stage | Point Sequence | Set Point | Set Reading | Include Reset | Reset Reading | Point Remark
4 | 1 | As Found | 1 | 50 | 50.2 | Yes | 45 | Normal
4 | 1 | As Left | 1 | 50 | 50 | Yes | 45.1 | Adjusted

## Test Standard Used
Import Row ID | Test Standard Asset ID
1 | STD-9001
2 | STD-9001
3 | STD-9001
4 | STD-9001
5 | STD-9001

## Procedures
Procedure Code | Procedure Revision | Title | Issue Date | Effective Date | Expiration Date | Resource Type | Reference Type | Resource Value | Remarks | Retention Note
PROC-PRES | 1 | Pressure Calibration | 2025-01-01 | 2025-02-01 | 2028-02-01 | Procedure Content | URL | https://example.com/pres | Pressure procedure | Retain 5 years
PROC-TEMP | 1 | Temperature Calibration | 2025-01-01 | 2025-02-01 | 2028-02-01 | Procedure Content | URL | https://example.com/temp |  | Retain 5 years
PROC-FLOW | 2 | Flow Verification | 2025-06-01 | 2025-07-01 | 2028-07-01 | Procedure Content | URL | https://example.com/flow |  | Retain 3 years
PROC-SW | 1 | Switch Test | 2025-03-01 | 2025-04-01 | 2028-04-01 | Procedure Content | URL | https://example.com/switch |  | Retain 3 years
PROC-HUM | 1 | Humidity Check | 2025-05-01 | 2025-06-01 | 2028-06-01 | Procedure Content | URL | https://example.com/humidity |  | Retain 2 years

## Vendors
Name | Contact Name | Address | City | State | Postal Code | Country | Office Phone | Mobile Phone | Fax Phone | Email | Certification Type | Certification Number | Certification Expiration Date | Remarks
Precision Cal Labs | Jamie Smith | 100 Main St | Chicago | IL | 60601 | USA | 555-1000 | 555-1001 | 555-1002 | info@pclabs.com | ISO17025 | CAL-001 | 2027-12-31 | Primary lab
Metro Instruments | Chris Lee | 200 Oak Ave | Dallas | TX | 75001 | USA | 555-2000 |  |  | sales@metro.com | OEM | OEM-123 | 2028-05-01 | OEM service
QA Services | Pat Jones | 300 Pine Rd | Atlanta | GA | 30301 | USA | 555-3000 |  |  | contact@qa.com | ISO9001 | QA-456 | 2027-08-15 | Audit support
Field Tech Inc | Alex Brown | 400 Elm St | Denver | CO | 80014 | USA | 555-4000 |  |  | service@fieldtech.com | Other | FT-789 | 2026-10-10 | Contractor
Calibration Experts | Taylor White | 500 Cedar Ln | Phoenix | AZ | 85001 | USA | 555-5000 |  |  | hello@calexp.com | ISO17025 | CE-321 | 2029-01-01 | Backup provider

## Lookups
Strategy | Default Units | Test Specification Type | Tolerance Type | Trip Detection | Trip State | Trip Direction | Default Frequencies | Asset Type | Result | YesNo | FoundLeft | Procedure Link | Reference Type | Task Step Type
Zero Only | % | Test Point Accuracy | Percent of Span | AC Voltage | High | High/Ascending | Annually | Instrument | Pass | Yes | As Found | URL | Procedure Content | Before
Span Only | %RH | Switch Test | Percent of Reading | Continuity | Low | Low/Descending | Daily | Loop | Fail | No | As Left | File Path | Reference Material | During
2 Up | °C | Manual Pass Fail | Plus/Minus | DC Voltage | Short |  | Monthly | Test Standard | Incomplete |  |  |  | Related Information | After
2 Down | °F |  | Plus |  | Open |  | Quarterly | Equipment | Indeterminate |  |  |  | Other
3 Up | °R |  | Minus |  |  |  | Semi-Annually
3 Up Padded | µg | [5 empty] | Weekly
3 Down | µm
3 Up/Down | A
5 Up | bar
5 Up Padded | BTU
5 Down | cm
5 Up/Down | day
11 Up | ft
11 Up/Down | ftH2O
11 Down | g
gal
GPM
hr
Hz
in
inH2O
inHg
K
kg
kHz
km
kPa
kΩ
L
m
m/s
mA
mÂ³/s
mbar
mg
mH2O
mHg
MHz
min
MJ
mm
mmH2O
mmHg
MPa
ms
mV
MΩ
nm
Pa
pH
ppb
ppm
psi
s
V
Ω